## blind_study_table
patient_ID | plan_ID | Acceptable (yes/no) | Superior (yes/no) | Human made (yes/no) | Comments
test_00 | plan_A | No | No | No | Not acceptable based of brain stem dose: numerically too high and you see in the dose distribution, that less sparing is applied comapred to plan B
test_00 | plan_B | Yes | Yes | Yes
test_01 | plan_A | Yes | Yes | Yes | Dmin too low
test_01 | plan_B | No | No | No
test_02 | plan_A | Yes | No | No | Plans very similary, hard to point out which might be AI generated
test_02 | plan_B | Yes | No | Yes
test_03 | plan_A | Yes | Yes | Yes | OAR constraints slightly violated but but for high priority OARs
test_03 | plan_B | Yes | No | No
test_04 | plan_A | Yes | Better target coverage | No | Would be good to have doses for the optical structures in the table as well. These are missing but account for important differences between the plans. Specifically, the constraints to the chiasm/optic nerves should be known.
test_04 | plan_B | Yes | Better sparing of optical structures | Yes
test_05 | plan_A | Yes | No | No | Plan B better based on target coverage, but has slightly worse OAR doses
test_05 | plan_B | Yes | Yes | Yes
test_06 | plan_A | Yes | Yes | Yes | Plan A better based on target coveage
test_06 | plan_B | Yes | No | No
test_07 | plan_A | Yes | No | No | Plan A has better coverage of the low dose target volume, but is quite hot (Dmax <110%)
test_07 | plan_B | Yes | No | Yes
test_08 | plan_A | Yes | Yes | Yes | Plans very similar but A has better target coverage
test_08 | plan_B | Yes | No | No
test_09 | plan_A | Yes | No | No | Plan B better as it has less hot spots in the target, overall plans are very similar however
test_09 | plan_B | Yes | Yes | Yes
test_10 | plan_A | Yes | Yes | Yes | Plan A better based on improved target coverage; both plans are very good though, differences are minor
test_10 | plan_B | Yes | Yes | No
test_11 | plan_A | Yes | Yes | Yes | Differences are minor, but plan A has slightly better target coverage.
test_11 | plan_B | Yes | No | No
test_12 | plan_A | Yes | Yes | Yes | Plan B has insufficient coverage of the lower dose PTV
test_12 | plan_B | No | No | No
test_13 | plan_A | No | No | No | Plan B has unacceptably high OAR (pituitary gland) doses compared to plan A; plans are very similar in terms of PTV coverage (A is also slightly better here)
test_13 | plan_B | Yes | Yes | Yes
test_14 | plan_A | Yes | No | No | Plan B has worse target coverage
test_14 | plan_B | Yes | Yes | Yes
test_15 | plan_A | Yes | Yes | Yes | Plan B is worse based on worse coverage and more hot spots for PTV
test_15 | plan_B | Yes | No | No
test_16 | plan_A | Yes | No | No | Maybe the most head-to-head case. Plan A has better sparing of bilateral cochlea, but higher dose to the spinal cord. Both Plan A and B are acceptable, though. Plan B has better target coverage.
test_16 | plan_B | Yes | Yes | Yes
test_17 | plan_A | Yes | No | No | The plans are very similar, both spare OARs well, plan B has slightly better target coverage but these are minor.
test_17 | plan_B | Yes | Yes | Yes
test_18 | plan_A | No | No | Yes | Plan B inacceptable based on significant undercoverage of the target, without improving the sparing of any OAR. HOWEVER: chiasm is not contoured, same for the optic new on the right. Maybe there is something missing that explains the undercoverage of the target in plan A? When, A could be acceptable and might be superior even.
test_18 | plan_B | Yes | Yes | Yes